## Hourly Flows
HOURLY READINGS DATE |  |  |  |  | 2025-02-10
TIME | FLOW | Before WET WELL | After WET WELL | Under flow | TOT WAS | RAW SEWAGE PUMPS | RETURN SLUDGE PUMPS | INF PH | PRI. PUMPS | RAS | Screws # ON | ABF # ON | Blowers # ON | AMPS | KW | Potable Water Pressure | eff tss | H2S
0:00 | 65.8 |  | 79.1 | 7 | 0 | #2,4 | 2N/2S |  | #4 |  | 4 | 4 | 2 | 150 |  |  | 36
1:00 | 76.2 |  | 37.3 |  | 0 | #2,4 | 2N/2S |  | #6 |  | 5 | 4 | 2 | 150
2:00 | 72.8 |  | 32.6 |  | 0 | #2,4 | 2N/2S |  | #6 |  | 4 | 4 | 2 | 150
3:00 | 69.9 |  | 11.1 |  | 0 | [8 empty] | 150
4:00 | 64.5 |  | 39.9 |  | 0 | [8 empty] | 150
5:00 | 61.2 |  | 36.8 |  | 0 | [8 empty] | 150
6:00 | 59.3 |  | 26.93 |  | 0 | [8 empty] | 150 |  |  | 42
7:00 | 59.6 |  | 51.2 |  | 0 | #2,4 | 2N/2S |  | #6 |  | 4 | 4 | 2 | 150
8:00 | 55.9 |  | 35.3 |  | 0 | [8 empty] | 150
9:00 | 56.4 |  | 34.7 |  | 0 | [8 empty] | 150
10:00 | 55.8 |  | 33.2 |  | 0 | [8 empty] | 149
11:00 | 57.5 |  | 38.9 |  | 0 | [8 empty] | 148
12:00 | 56.8 |  | 34.1 |  | 0 | [8 empty] | 147 |  |  | 41
13:00 | 56.4 |  | 36.5 |  | 0 | [8 empty] | 147
14:00 | 59.7 |  | 49.5 |  | 0.7 | [8 empty] | 146
15:00 | 59 |  | 44.4 |  | 0.7 | #2,4 | 1N,3S |  | #3,4,6 |  | 4 | 4 | 2 | 146
16:00 | 57.7 |  | 39.4 |  | 0.6 | [8 empty] | 145
17:00 | 58 |  | 30.64 |  | 0.5 | [8 empty] | 144
18:00 | 61.5 |  | 43.9 |  | 0.9 | [8 empty] | 144 |  |  | 65
19:00 | 63 |  | 58.3 |  | 0.8 | [8 empty] | 144
20:00 | 61.7 |  | 49.2 |  | 0.8 | [8 empty] | 145
21:00 | 62.2 |  | 42.8 |  | 0.8 | [8 empty] | 145
22:00 | 61.4 |  | 26.4 |  | 0.8 | #2,4 | 1N |  | #3,4,6 |  | 4 | 4 | 2 | 146
23:00 | 65 |  | 66.1 |  | 0.8 | [8 empty] | 146
DAILY AVG.
MAX | 76.2 |  | 79.1 | 7 | 0.9 | XXXXX | XXXXX | 0 | XXXXX |  | XXXXXXX | XX | XXXXXX | 150 | 0 |  | 65
MIN | 55.8 |  | 11.1 | 7 | 0 | XXXXX | XXXXX | 0 | XXXXX |  | XXXXXXX | XX | XXXXXX | 144 | 0 |  | 36

## Clarifier Flows
BASIN / CLARIFIER FLOWS
2025-02-10 | NORTH BASIN | [6 empty] | SOUTH BASIN | [6 empty] | NORTH CLAR. |  |  |  | SOUTH CLAR. |  |  |  | NORTH RAS |  |  |  |  | SOUTH RAS
TIME | 1 | 3 | 5 | 7 | 9 | 11 | 13 | 1 | 3 | 5 | 7 | 9 | 11 | 13 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 |  | 1 | 2 | 3 | 4
OOOO | 7.3 | 7.3 | 7.1 | 8 | 5.6 | 6.5 | 7.8 | 8.1 | 5.6 | 6.8 | 4.7 | 8.4 | 8.3 | 8.3 | 10.6 | 10.6 | 6.4 | 6.4 | 12.2 | 12.2 | 13.4 | 13.4 | 2.1 | 2.1 | 0.8 | 0.8 |  | 1.7 | 1.7 | 0.7 | 2
O1OO | 9.2 | 9.2 | 9.3 | 9.7 | 7.2 | 8.4 | 9.3 | 7.3 | 7.3 | 8.8 | 6.1 | 10.7 | 10.5 | 10.5 | 13.7 | 13.7 | 8.4 | 8.4 | 17.2 | 17.2 | 17.9 | 17.7 | 2.2 | 2.2 | 0.8 | 0.8 |  | 1.7 | 1.7 | 0.7 | 1.9
O2OO | 7.6 | 7.6 | 7.5 | 8.3 | 6 | 6.8 | 8.2 | 7.1 | 5.9 | 7 | 5 | 8.6 | 8.3 | 8.3 | 11.5 | 11.5 | 6.9 | 6.9 | 13.1 | 13.1 | 14.2 | 14.1 | 2.2 | 2.2 | 0.9 | 0.9 |  | 1.6 | 1.6 | 0.7 | 2
O3OO | 7.5 | 7.5 | 7.6 | 8.4 | 6 | 7 | 8.2 | 7.5 | 6.1 | 7.1 | 5 | 8.9 | 8.6 | 8.6 | 11.1 | 11.1 | 6.6 | 6.6 | 12.3 | 12.3 | 13.8 | 13.8 | 2.2 | 2.2 | 0.8 | 0.8 |  | 1.7 | 1.7 | 0.7 | 2
O4OO | 7.8 | 7.8 | 7.7 | 8.2 | 5.9 | 6.6 | 8 | 6.7 | 5.9 | 7 | 4.9 | 8.7 | 8.5 | 8.5 | 11.2 | 11.2 | 6.7 | 6.7 | 12.6 | 12.6 | 14 | 13.9 | 2.1 | 2.1 | 0.9 | 0.9 |  | 1.7 | 1.7 | 0.7 | 2
O5OO | 7.5 | 7.5 | 7.2 | 7.9 | 5.8 | 6.5 | 7.7 | 6.1 | 5.8 | 6.9 | 4.8 | 8.5 | 8.3 | 8.3 | 10.6 | 10.6 | 6.4 | 6.4 | 12.4 | 12.4 | 13.3 | 13.4 | 2.2 | 2.2 | 0.9 | 0.9 |  | 1.8 | 1.8 | 0.7 | 2
O6OO | 7.32 | 7.32 | 7.16 | 7.8 | 5.7 | 6.4 | 7.71 | 6.83 | 5.6 | 6.59 | 4.69 | 8.23 | 8.07 | 8.07 | 10.66 | 10.66 | 6.3 | 6.26 | 11.94 | 11.94 | 13.25 | 13.17 | 2.19 | 2.19 | 0.86 | 0.86 |  | 1.73 | 1.73 | 0.72 | 2.06
O7OO | 7 | 7 | 7 | 7.6 | 5.5 | 6.2 | 7.5 | 6.6 | 5.5 | 6.5 | 4.6 | 8.1 | 7.8 | 7.8 | 10.4 | 10.4 | 6.1 | 6.1 | 12.1 | 12.1 | 12.8 | 12.8 | 2.2 | 2.2 | 0.9 | 0.9 |  | 1.8 | 1.8 | 0.8 | 2
O8OO | 7 | 7 | 7 | 7.7 | 5.5 | 6.2 | 7.5 | 6.6 | 5.6 | 6.7 | 4.6 | 8.1 | 7.8 | 7.8 | 10 | 10 | 6.1 | 6.1 | 12.1 | 12.1 | 12.8 | 12.8 | 2.2 | 2.2 | 0.9 | 0.9 |  | 1.8 | 1.8 | 0.8 | 2
O9OO | 7.1 | 7.1 | 7.1 | 7.8 | 5.6 | 6.4 | 7.6 | 6.7 | 5.6 | 6.7 | 4.6 | 8.2 | 7.9 | 7.9 | 9.8 | 9.8 | 5.9 | 5.9 | 11.6 | 11.6 | 12.2 | 12.2 | 2.8 | 2.8 | 1 | 1 |  | 1.9 | 1.9 | 1 | 1.8
1OOO | 7.2 | 7.2 | 7.2 | 7.9 | 5.6 | 6.5 | 7.7 | 6.8 | 5.6 | 6.6 | 4.7 | 8.4 | 8 | 8 |  | 9.4 | 5.6 | 5.6 | 10.2 | 10.2 | 11 | 11.3 | 3.2 | 3.2 | 1.3 | 1.3 |  | 2 | 2 | 1.2 | 1.7
11OO | 7.1 | 7.1 | 7 | 7.6 | 5.5 | 6.2 | 7.6 | 6.5 | 5.4 | 6.4 | 4.6 | 7.9 | 7.9 | 7.8 | 9.1 | 9.1 | 5.5 | 5.5 | 10 | 10 | 10.7 | 10.7 | 3.2 | 3.2 | 1.3 | 1.3 |  | 2 | 2 | 1.2 | 1.7
12OO | 6.7 | 6.7 | 6.8 | 7.4 | 5.2 | 6 | 7.2 | 6.1 | 5.4 | 6 | 4.3 | 7.8 | 7.5 | 7.5 | 8.8 | 8.8 | 5.2 | 5.2 | 9.5 | 9.5 | 10.1 | 10.5 | 3.2 | 3.2 | 1.4 | 1.4 | 0 | 2 | 2 | 1.2 | 1.7
13OO | 6.3 | 6.3 | 6.5 | 7.2 | 5.2 | 6 | 7 | 6.7 | 5.1 | 5.8 | 4.3 | 7.5 | 7.3 | 7.3 | 8.7 | 8.7 | 5.1 | 5.1 | 9.4 | 9.4 | 10 | 10.1 | 3.2 | 3.2 | 1.4 | 1.4 |  | 2 | 2 | 1.2 | 1.7
14OO | 6.6 | 6.6 | 6.7 | 7.5 | 5.2 | 6.1 | 7.3 | 6.9 | 5.3 | 6.1 | 4.4 | 7.9 | 7.7 | 7.7 | 8.6 | 8.6 | 5.1 | 5.1 | 9.2 | 9.2 | 9.8 | 9.9 | 3.2 | 3.2 | 1.4 | 1.4 |  | 2 | 2 | 1.2 | 1.7
15OO | 6.2 | 6.2 | 6.7 | 7.4 | 5.3 | 6.2 | 7.2 | 7.7 | 5.3 | 6.1 | 4.3 | 7.8 | 7.7 | 7.7 | 8.7 | 8.7 | 5.1 | 5.1 | 9.2 | 9.2 | 10 | 10.2 | 3.2 | 3.2 | 1.4 | 3.2 |  | 2 | 2 | 1.2 | 1.7
16OO | 6.2 | 6.2 | 6.7 | 7.4 | 5.3 | 6.2 | 7.2 | 7.7 | 5.3 | 6.1 | 4.3 | 7.8 | 7.7 | 7.7 | 8.7 | 8.7 | 5.1 | 5.1 | 9.2 | 9.2 | 10 | 10.2 | 3.2 | 3.2 | 1.4 | 3.2 |  | 2 | 2 | 1.2 | 1.7
17OO | 7 | 7 | 7.3 | 8 | 5.6 | 6.4 | 7.7 | 7.4 | 5.5 | 6.4 | 4.6 | 8.2 | 8.1 | 8.1 | 9.4 | 9.4 | 5.6 | 5.6 | 10.3 | 10.3 | 11.1 | 11.3 | 3.1 | 3.1 | 1.4 | 3.1 |  | 2 | 2 | 1.1 | 1.7
18OO | 7.2 | 7.2 | 7.3 | 8 | 5.9 | 6.6 | 8 | 7.7 | 5.8 | 6.5 | 4.7 | 8.6 | 8.3 | 8.3 | 9.4 | 9.4 | 5.6 | 5.6 | 10.4 | 10.4 | 11.3 | 11.4 | 3.2 | 3.2 | 1.4 | 3.2 |  | 1.8 | 1.8 | 1.2 | 1.8
19OO | 7.5 | 7.5 | 7.5 | 8.2 | 5.8 | 6.8 | 7.9 | 7.6 | 5.8 | 6.8 | 4.7 | 8.7 | 8.2 | 8.2 | 9.6 | 9.6 | 5.6 | 5.6 | 10.4 | 10.4 | 11.6 | 11.7 | 3.2 | 3.2 | 1.4 | 3.2 |  | 1.7 | 1.7 | 1.2 | 1.8
2OOO | 7.4 | 7.4 | 7.5 | 8.2 | 5.9 | 6.7 | 7.9 | 7.6 | 5.8 | 6.8 | 4.7 | 8.6 | 8.3 | 8.3 | 9.6 | 9.6 | 5.6 | 5.6 | 10.5 | 10.5 | 11.5 | 11.6 | 3.3 | 3.3 | 1.4 | 3.3 |  | 1.7 | 1.7 | 1.1 | 1.7
21OO | 7.9 | 7.9 | 7.3 | 8.2 | 5.9 | 6.8 | 8 | 8.1 | 5.8 | 6.9 | 4.8 | 8.8 | 8.5 | 8.5 | 9.8 | 9.8 | 5.7 | 5.7 | 10.7 | 10.7 | 11.7 | 11.8 | 3.2 | 3.2 | 1.4 | 3.2 |  | 1.6 | 1.6 | 1.1 | 1.7
22OO | 7.4 | 7.4 | 7.2 | 7.7 | 5.5 | 6.4 | 7.7 | 8.3 | 5.7 | 6.7 | 4.5 | 8.3 | 8.1 | 8.1 | 9.6 | 9.6 | 5.6 | 5.6 | 10.3 | 10.3 | 11.3 | 11.3 | 3.7 | 3.7 | 1.7 | 3.7 |  | 0 | 0 | 0 | 0
23OO | 7 | 7 | 7 | 7.6 | 5.4 | 6.3 | 7.6 | 6.3 | 5.4 | 6.4 | 4.4 | 8.1 | 7.7 | 7.7 | 9.3 | 9.3 | 5.3 | 5.3 | 9.6 | 9.6 | 10.3 | 10.6 | 3.7 | 3.7 | 1.6 | 1.6 |  | 0 | 0 | 0 | 0
DAILY AVG.
Basin Total Flow | 0
Total Underflow | 0
Clarifier Total Flow | 0
Total Flow % Error
Note on A32: controlroom: biased to Basin total Flow (i.e. Basins are the more accurate flowmeters)

## daily data
T.E. Maxson Daily Data
Date* | 2025-03-18 | [19 empty] | None | On | Clear
[21 empty] | Clear | Off | Orange
Primary Blankets | [7 empty] | Settlometer |  |  |  | # In Service |  |  | Lagoon Sludge Temp | [5 empty] | White |  | Blue
TIME ** | FLOW | #1 | #2 | #3 | #4 | AVG |  | Time | North | South |  | Pri. Clarifiers | 3 |  | Shift | 2A | 2B | 2C | #1 |  | Dark
0:31 | 73.4 | 2 | 1 |  | 4 | 2.3333 |  | 5 | 980 | 980 |  | ABF Towers | 4 |  | 2011-11-07
11:30 | 57.5 | 5 | 5 |  | 3 | 4.3333 |  | 10 | 960 | 960 |  | Lrg. Basin | 10 |  | 2011-07-03
16:00 | 57.7 | 2.5 | 1.5 |  | 0 | 1.3333 |  | 15 | 940 | 940 |  | Sm. Basin | 4 |  | 2011-03-11
[6 empty] | 2.6667 |  | 20 | 920 | 920 |  | Total Basins | 14 |  | AVG
[8 empty] | 25 | 900 | 900 |  | Sec. Clarifiers | 10 |  | Total Avg. of All Lagoons Temp:
[8 empty] | 30 | 880 | 880 |  | Blowers | 2
pH
Secondary Blankets | [11 empty] | Flows |  |  | Shift | 2A Lag. | 2B Lag. | 2C Lag. | Return Sludge | #1 Lagoon
TIME ** | FLOW | North |  |  |  | South |  |  |  | AVG |  | Plant Inf |  |  | 2011-11-07 |  |  |  | 6.7
|  | #1 | #2 | #3 | #4 | #1 | #2 | #3 | #4 |  |  | Tot Basin |  |  | 2011-07-03 |  |  |  | 6.83
0:31 | 73.4 | 0.5 | 0.1 | 1.5 | 1 | 0.5 | 1 | 1 | 1 |  |  | Tot Clarifier |  |  | 2011-03-11 |  |  |  | 6.76
14:30 | 56.8 | 0.3 | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Tot Underflow |  |  | Shift | Pri Sldg | Lag Manhole | Sec Dwt
16:00 | 57.7 | 1 | 0.5 | 0.8 | 1 | 0 | 3.5 | 0.5 | 0.5 |  |  | Tot Wasting |  |  | 2002-11-07 | 4.8
2002-07-03
[12 empty] | Power |  |  | 2002-03-11 | 4.89
FLARE #1 | Off | [9 empty] | 7-3 | Max KW
| Off | [9 empty] | 3-11 | Total KW | 0 |  | Plant pH |  |  | Sludge pH | RAS | Primary
| Off | [9 empty] | 11-7 |  |  |  | Max | 0 |  | Max | 6.83 | 4.89
FLARE #2 | Off | [9 empty] | 7-3 | Temperature |  |  | Min | 0 |  | Min | 6.76 | 4.8
| Off | [9 empty] | 3-11 | TOWERS
| Off | [9 empty] | 11-7 | BASINS | 20.9 |  | Volume of Biogas |  | # 1 Blower | # 2C Blower | Average H2S
FLARE #3 | Off | [9 empty] | 7-3 | [5 empty] | 0 | 0 | 0
| Off | [9 empty] | 3-11 | Uptake Rates
| Off | [9 empty] | 11-7 | ABFI |  |  | Flare Temps
FLARE #4 | Off | [9 empty] | 7-3 | ABFE |  |  | Shift | 1 | 2 | 3 | 4 | 5
| Off | [9 empty] | 3-11 | PT#1 |  |  | 2002-11-07
| Off | [9 empty] | 11-7 | PT #4 |  |  | 2002-07-03
FLARE #5 | Off | [9 empty] | 7-3 |  |  |  | 2019-03-11
| Off | [9 empty] | 3-11
| Off | [9 empty] | 11-7
Basin D.O. Profile | [11 empty] | ABF Tower D.O. Profile
| North | [10 empty] | TOWER | 1 | 2 | 3 | 4 | 5 | 6 | AVG
| 2 | 4 | 6 | 8 | 10 | 12 | 14 | AVG |  |  |  | D.O.
6.9 | 2.7 | 2.9 | 3.1 | 2.2 | 4 | 2.3 | 1.4
Probes | [11 empty] | * The date must be enterend in MM/DD/YYYY format | [6 empty] | Once Biogas Volume is entered press Export
| South | [10 empty] | ** All Blanket times must be entered in HH:MM format military time | [6 empty] | then clear to start a new date.
| 2 | 4 | 6 | 8 | 10 | 12 | 14 | AVG
Handheld | 2 | 2 | 1.6 | 4.5 | 1.3 | 1 | 1.7 | 2.0143
Probes
Probe to Handheld % Error
:
Clear
Export

## Hourly Data (hidden)
Sampled Date | Parameter | Reported Result | Unit | Sample Location
2025-03-18 | Hourly Flow (00:00) | 65.8 | MGD | TEM Influent
2025-03-18 | Hourly Flow (01:00) | 76.2 | MGD | TEM Influent
2025-03-18 | Hourly Flow (02:00) | 72.8 | MGD | TEM Influent
2025-03-18 | Hourly Flow (03:00) | 69.9 | MGD | TEM Influent
2025-03-18 | Hourly Flow (04:00) | 64.5 | MGD | TEM Influent
2025-03-18 | Hourly Flow (05:00) | 61.2 | MGD | TEM Influent
2025-03-18 | Hourly Flow (06:00) | 59.3 | MGD | TEM Influent
2025-03-18 | Hourly Flow (07:00) | 59.6 | MGD | TEM Influent
2025-03-18 | Hourly Flow (08:00) | 55.9 | MGD | TEM Influent
2025-03-18 | Hourly Flow (09:00) | 56.4 | MGD | TEM Influent
2025-03-18 | Hourly Flow (10:00) | 55.8 | MGD | TEM Influent
2025-03-18 | Hourly Flow (11:00) | 57.5 | MGD | TEM Influent
2025-03-18 | Hourly Flow (12:00) | 56.8 | MGD | TEM Influent
2025-03-18 | Hourly Flow (13:00) | 56.4 | MGD | TEM Influent
2025-03-18 | Hourly Flow (14:00) | 59.7 | MGD | TEM Influent
2025-03-18 | Hourly Flow (15:00) | 59 | MGD | TEM Influent
2025-03-18 | Hourly Flow (16:00) | 57.7 | MGD | TEM Influent
2025-03-18 | Hourly Flow (17:00) | 58 | MGD | TEM Influent
2025-03-18 | Hourly Flow (18:00) | 61.5 | MGD | TEM Influent
2025-03-18 | Hourly Flow (19:00) | 63 | MGD | TEM Influent
2025-03-18 | Hourly Flow (20:00) | 61.7 | MGD | TEM Influent
2025-03-18 | Hourly Flow (21:00) | 62.2 | MGD | TEM Influent
2025-03-18 | Hourly Flow (22:00) | 61.4 | MGD | TEM Influent
2025-03-18 | Hourly Flow (23:00) | 65 | MGD | TEM Influent

## Data (hidden)
Sampled Date | Parameter | Reported Result | Unit | Sample Location | Shift | Time | Instrument
2025-03-18 | Blankets | 2 | Feet | TEM Primary Clarifier #1 | 11 to 7 | 0:31
2025-03-18 | Blankets | 5 | Feet | TEM Primary Clarifier #1 | 7 to 3 | 11:30
2025-03-18 | Blankets | 2.5 | Feet | TEM Primary Clarifier #1 | 7 to 3 | 11:30
2025-03-18 | Blankets |  | Feet | TEM Primary Clarifier #2 | 11 to 7 | 0:31
2025-03-18 | Blankets | 5 | Feet | TEM Primary Clarifier #2 | 7 to 3 | 11:30
2025-03-18 | Blankets | 1.5 | Feet | TEM Primary Clarifier #2 | 7 to 3 | 11:30
2025-03-18 | Blankets | 4 | Feet | TEM Primary Clarifier #3 | 11 to 7 | 0:31
2025-03-18 | Blankets |  | Feet | TEM Primary Clarifier #3 | 7 to 3 | 11:30
2025-03-18 | Blankets |  | Feet | TEM Primary Clarifier #3 | 7 to 3 | 11:30
2025-03-18 | Blankets |  | Feet | TEM Primary Clarifier #4 | 11 to 7 | 0:31
2025-03-18 | Blankets | 3 | Feet | TEM Primary Clarifier #4 | 7 to 3 | 11:30
2025-03-18 | Blankets | 0 | Feet | TEM Primary Clarifier #4 | 7 to 3 | 11:30
2025-03-18 | Blankets | 0.1 | Feet | TEM 1N Secondary Clarifier | 11 to 7 | 0:00
2025-03-18 | Blankets | 0.3 | Feet | TEM 1N Secondary Clarifier | 7 to 3 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 1N Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 0.1 | Feet | TEM 2N Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 0.3 | Feet | TEM 2N Secondary Clarifier | 7 to 3 | 16:00
2025-03-18 | Blankets | 0.5 | Feet | TEM 2N Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1.5 | Feet | TEM 3N Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 3N Secondary Clarifier | 7 to 3 | 16:00
2025-03-18 | Blankets | 0.8 | Feet | TEM 3N Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 4N Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 4N Secondary Clarifier | 7 to 3 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 4N Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 0.5 | Feet | TEM 1S Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 1S Secondary Clarifier | 7 to 3 | 16:00
2025-03-18 | Blankets | 0 | Feet | TEM 1S Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 2S Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 2S Secondary Clarifier | 7 to 3 | 16:00
2025-03-18 | Blankets | 3.5 | Feet | TEM 2S Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 3S Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 3S Secondary Clarifier | 7 to 3 | 16:00
2025-03-18 | Blankets | 0.5 | Feet | TEM 3S Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 4S Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Blankets | 1 | Feet | TEM 4S Secondary Clarifier | 7 to 3 | 16:00
2025-03-18 | Blankets | 0.5 | Feet | TEM 4S Secondary Clarifier | 3 to 11 | 16:00
2025-03-18 | Status |  |  | TEM Flare #1 | 7 to 3 | 22:26
2025-03-18 | Status |  |  | TEM Flare #1 | 3 to 11 | 22:26
2025-03-18 | Status |  |  | TEM Flare #1 | 11 to 7 | 22:26
2025-03-18 | Status |  |  | TEM Flare #2 | 7 to 3 | 22:26
2025-03-18 | Status |  |  | TEM Flare #2 | 3 to 11 | 22:26
2025-03-18 | Status |  |  | TEM Flare #2 | 11 to 7 | 22:26
2025-03-18 | Status |  |  | TEM Flare #3 | 7 to 3 | 22:26
2025-03-18 | Status |  |  | TEM Flare #3 | 3 to 11 | 22:26
2025-03-18 | Status |  |  | TEM Flare #3 | 11 to 7 | 22:26
2025-03-18 | Status |  |  | TEM Flare #4 | 7 to 3 | 22:26
2025-03-18 | Status |  |  | TEM Flare #4 | 3 to 11 | 22:26
2025-03-18 | Status |  |  | TEM Flare #4 | 11 to 7 | 22:26
2025-03-18 | Status |  |  | TEM Flare #5 | 7 to 3 | 22:26
2025-03-18 | Status |  |  | TEM Flare #5 | 3 to 11 | 22:26
2025-03-18 | Status |  |  | TEM Flare #5 | 11 to 7 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #1 | 7 to 3 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #1 | 3 to 11 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #1 | 11 to 7 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #2 | 7 to 3 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #2 | 3 to 11 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #2 | 11 to 7 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #3 | 7 to 3 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #3 | 3 to 11 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #3 | 11 to 7 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #4 | 7 to 3 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #4 | 3 to 11 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #4 | 11 to 7 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #5 | 7 to 3 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #5 | 3 to 11 | 22:26
2025-03-18 | Flare Smoke |  |  | TEM Flare #5 | 11 to 7 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #1 | 7 to 3 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #1 | 3 to 11 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #1 | 11 to 7 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #2 | 7 to 3 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #2 | 3 to 11 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #2 | 11 to 7 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #3 | 7 to 3 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #3 | 3 to 11 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #3 | 11 to 7 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #4 | 7 to 3 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #4 | 3 to 11 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #4 | 11 to 7 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #5 | 7 to 3 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #5 | 3 to 11 | 22:26
2025-03-18 | Flare Color |  |  | TEM Flare #5 | 11 to 7 | 22:26
2025-03-18 | Dissolved Oxygen | 3.1 | mg/L | TEM 2N Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 3.1 | mg/L | TEM 4N Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 3.1 | mg/L | TEM 6N Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 2.2 | mg/L | TEM 8N Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 4 | mg/L | TEM 10N Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 2.3 | mg/L | TEM 12N Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 1.4 | mg/L | TEM 14N Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 2 | mg/L | TEM 2S Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 2 | mg/L | TEM 4S Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 1.6 | mg/L | TEM 6S Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 4.5 | mg/L | TEM 8S Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 1.3 | mg/L | TEM 10S Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 1 | mg/L | TEM 12S Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 1.7 | mg/L | TEM 14S Aeration Basin |  | 22:26 | YSI
2025-03-18 | Dissolved Oxygen | 2.7 | mg/L | TEM 2N Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen | 2.9 | mg/L | TEM 4N Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 6N Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 8N Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 10N Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 12N Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 14N Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 2S Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 4S Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 6S Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 8S Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 10S Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen | 0 | mg/L | TEM 12S Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM 14S Aeration Basin |  | 22:26 | Field Meter
2025-03-18 | Number in Service | 3 |  | TEM Primary Clairifiers |  | 22:26
2025-03-18 | Number in Service | 4 |  | TEM ABF Towers |  | 22:26
2025-03-18 | Large Basins in Service | 10 |  | Aeration Basins |  | 22:26
2025-03-18 | Small Basins in Service | 4 |  | Aeration Basins |  | 22:26
2025-03-18 | Number in Service | 10 |  | Secondary Clarifiers |  | 22:26
2025-03-18 | Average Flow (MGD) |  | MGD | TEM Influent |  | 22:26
2025-03-18 | Average Flow (MGD) |  | MGD | Aeration Basins |  | 22:26
2025-03-18 | Average Flow (MGD) |  | MGD | Secondary Clarifiers |  | 22:26
2025-03-18 | Underflow |  | MGD | Secondary Clarifiers |  | 22:26
2025-03-18 | Average Flow (MGD) |  | MGD | Waste Activated Sludge |  | 22:26
2025-03-18 | Max KW |  | KW | TEM Power |  | 22:26
2025-03-18 | Total KW | 0 | KW | TEM Power |  | 22:26
2025-03-18 | Temperature (Celsius) |  | Celsius | TEM ABF Towers |  | 22:26
2025-03-18 | Temperature (Celsius) | 20.9 | Celsius | Aeration Basins |  | 22:26
2025-03-18 | Oxygen Uptake Rate |  | mg/L/hr | TEM ABF Influent |  | 22:26
2025-03-18 | Oxygen Uptake Rate |  | mg/L/hr | TEM ABF Effluent |  | 22:26
2025-03-18 | Oxygen Uptake Rate |  | mg/L/hr | TEM Aeration Point 1 |  | 22:26
2025-03-18 | Oxygen Uptake Rate |  | mg/L/hr | TEM Aeration Point 4 |  | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2A | 7 to 3 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2A | 3 to 11 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2A | 11 to 7 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2B | 7 to 3 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2B | 3 to 11 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2B | 11 to 7 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2C | 7 to 3 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2C | 3 to 11 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2C | 11 to 7 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 1 | 7 to 3 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 1 | 3 to 11 | 22:26
2025-03-18 | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 1 | 11 to 7 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2A | 7 to 3 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2A | 3 to 11 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2A | 11 to 7 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2B | 7 to 3 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2B | 3 to 11 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2B | 11 to 7 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2C | 7 to 3 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2C | 3 to 11 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 2C | 11 to 7 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 1 | 7 to 3 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 1 | 3 to 11 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon 1 | 11 to 7 | 22:26
2025-03-18 | pH | 6.83 | pH Units | Tem Return Sludge | 7 to 3 | 22:26
2025-03-18 | pH | 6.76 | pH Units | Tem Return Sludge | 3 to 11 | 22:26
2025-03-18 | pH |  | pH Units | Tem Return Sludge | 11 to 7 | 22:26
2025-03-18 | pH | 4.8 | pH Units | TEM Primary Waste Sludge | 7 to 3 | 22:26
2025-03-18 | pH |  | pH Units | TEM Primary Waste Sludge | 3 to 11 | 22:26
2025-03-18 | pH | 4.89 | pH Units | TEM Primary Waste Sludge | 11 to 7 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon Manhole | 7 to 3 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon Manhole | 3 to 11 | 22:26
2025-03-18 | pH |  | pH Units | TEM Lagoon Manhole | 11 to 7 | 22:26
2025-03-18 | pH |  | pH Units | TEM Sec Dewatering Filtrate | 7 to 3 | 22:26
2025-03-18 | pH |  | pH Units | TEM Sec Dewatering Filtrate | 3 to 11 | 22:26
2025-03-18 | pH |  | pH Units | TEM Sec Dewatering Filtrate | 11 to 7 | 22:26
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM ABF Tower 1 |  | 22:26
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM ABF Tower 2 |  | 22:26
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM ABF Tower 3 |  | 22:26
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM ABF Tower 4 |  | 22:26
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM ABF Tower 5 |  | 22:26
2025-03-18 | Dissolved Oxygen |  | mg/L | TEM ABF Tower 6 |  | 22:26
2025-03-18 | pH (Min) | 0 | pH Units | TEM Final Effluent |  | 22:26
2025-03-18 | pH (Max) | 0 | pH Units | TEM Final Effluent |  | 22:26
2025-03-18 | Average Flow (CFD) | 0 | CFD | TEM Lagoon Blower Building 1 |  | 22:26
2025-03-18 | Average Flow (CFD) | 0 | CFD | TEM Lagoon Blower Building 2 |  | 22:26
2025-03-18 | Number in Service | 2 |  | Blowers |  | 22:26
2025-03-18 | Maximum Flow (MGD) | 76.2 | MGD | TEM Influent |  | 22:26
2025-03-18 | Minimum Flow (MGD) | 55.8 | MGD | TEM Influent |  | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #1 | 11 to 7 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #1 | 7 to 3 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #1 | 3 to 11 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #2 | 11 to 7 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #2 | 7 to 3 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #2 | 3 to 11 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #3 | 11 to 7 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #3 | 7 to 3 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #3 | 3 to 11 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #4 | 11 to 7 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #4 | 7 to 3 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #4 | 3 to 11 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #5 | 11 to 7 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #5 | 7 to 3 | 22:26
2025-03-18 |  |  | Fahrenheit | TEM Flare #5 | 3 to 11 | 22:26
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 0:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 1:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 2:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 3:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 4:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 5:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 6:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 7:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 8:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 9:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 10:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 11:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 12:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 13:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 14:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 15:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 16:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 17:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 18:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 19:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 20:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 21:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 22:00
2025-03-18 | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 23:00